## DOOR SCHEDULE
| Door Schedule |  |  |  |  | Notes DIMENSIONS: The contractor must check and confirm dimensions. DISCREPANCIES: To be reported to the Architect and resolved before works commences. STANDARDS: All work and materials to be in accordance with current applicable Statutory Legislation and to comply with all relevant British & EN Standards. DOOR SWINGS: Refer to Architectural plans. STRUCTURAL OPENINGS: Refer to setting out drawings. DOOR LEAF SIZES: To be worked out from performance criteria.
| Client: | Abbotsfield School
| Project: | Abbotsfield Post 16 Building
| Dwg Ref: | TA20P00 ; TA74D01/02/03; TA20E01/E02
Door |  | Internal/ | Minimum Clear Opening |  | Double Split Opening |  | Type | Fire | U-Value | Acoustic | Ironmongery | Overhead | Vision | Notes
Ref(s) |  | External | W (mm) | H (mm) | W Leaf A (mm) | W Leaf B (mm) |  | Rating |  | Rating | Ref. | Panel | Panel
D.01.01 |  | Internal | - | 2250 | 925 | 925 | Dark Grey Aluminium framed fully glazed double doors with manifestation to comply with Part M Regs. | FD30S | N/A | Rw 40dB | Ref to Architectural Schedule | Yes | No | Refer to detailed drawings for further information
D.03.01 |  | Internal | - | 2250 | 925 | 925 | Dark Grey Aluminium framed fully glazed double doors with manifestation to comply with Part M Regs. | FD30S | N/A | Rw 40dB | Ref to Architectural Schedule | Yes | No | Refer to detailed drawings for further information
D.04.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | Rw 40dB | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.05.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | Rw 40dB | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.06.01 |  | Internal | 925 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | N/A | N/A | N/A | Ref to Architectural Schedule | No | No
D.07.01 |  | Internal | - | 2250 | 825 | 825 | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | N/A | N/A | N/A | Ref to Architectural Schedule | No | No | Door to Disabled WC - Part M compliant.
D.08.01 |  | Internal | - | 2250 | 825 | 825 | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.09.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | N/A | N/A | N/A | Ref to Architectural Schedule | Yes | No
D.10.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | N/A | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.12.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.13.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.14.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.15.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.16.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.17.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.18.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.19.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.20.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
D.21.01 |  | Internal | 825 | 2250 | - | - | Solid core timber door. Painted finish, colour tbc. MDF leaf, hardwood frames and lippings. | FD30S | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to detailed drawings for further information
W.08.02 |  | External | - | 2300 | 1000 | 700 | Dark Grey Alluminium framed glazed doorset with manifestation to comply with Part M Regs. | N/A | 1.8 | N/A | Ref to Architectural Schedule | Yes | No | Refer to elevations for further information
Swipe Control Entry. Adequate fire signage to comply with current BS standards.
W.22.01 |  | External | - | 2250 | 850 | 850 | External grade solid core door set. Painted finish, colour tbc. Louvred overhead panel. | N/A | N/A | N/A | Ref to Architectural Schedule | Yes | No | Refer to elevations for further information
W.22.01 |  | External | - | 2250 | 850 | 850 | External grade solid core door set. Painted finish, colour tbc. Louvred overhead panel. | N/A | N/A | N/A | Ref to Architectural Schedule | Yes | No | Refer to elevations for further information
Timber over panel with allowance for penetration for boiler plant vent.
W.19.05 |  | External | - | 2250 | 850 | 850 | External grade solid core door set with glazed inserts. Painted finish, colour tbc. Glazed overhead panel. | N/A | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to elevations for further information
W.16.05 |  | External | 825 | 2250 | - | - | External grade solid core door set with glazed inserts. Painted finish, colour tbc. Glazed overhead panel. | N/A | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to elevations for further information
W.11.01 |  | External | 1000 | 2250 | - | - | External grade solid core door set with glazed insert and fixed glazed side panel. Painted finish, colour tbc. | N/A | N/A | N/A | Ref to Architectural Schedule | Yes | Yes | Refer to elevations for further information
Adequate fire signage to comply with current BS standards.
Revisions | [13 empty] | Drawing No | A(32)SCH01.0 | Revision | T1
T1 | ISSUED FOR TENDER |  |  |  | 2012-06-11 | [8 empty] | NOTES
1. The contractor must check and confirm dimensions
2. All discrepancies must be reported and resolved by the Architect before works commence
3. All work and materials to be in accordance with current applicable Statutory Legislation and to comply with all relevant Codes of Practice and British Standards